SECTION 10 28 14

ELECTRIC HAND DRYERS

This section includes editing notes to assist the user in editing the section to suit project requirements. These notes are included as hidden text, and can be revealed or hidden as follows:

Display the FILE tab on the ribbon, click OPTIONS, then DISPLAY. Select or deselect HIDDEN TEXT.

This guide specification section has been prepared by Mitsubishi Electric for use in the preparation of a project specification section covering Jet Towel high-speed electric hand dryers.

The following should be noted in using this specification:

Hypertext links to specific websites are included after manufacturer names and names of organizations whose standards are referenced within the text, to assist in product selection and further research. Hypertext links are contained in parenthesis and shown in blue, e.g.:

http://www.spexplus.net(www.astm.com		)

Optional text requiring a selection by the user is enclosed within brackets, e.g.: "Section [09 00 00.] [__ __ __.]"

Items requiring user input are enclosed within brackets, e.g.: "Section [__ __ __ - ________]."

Optional paragraphs are separated by an "OR" statement, e.g.:

**** OR ****

For assistance on the use of the products in this section, contact Mitsubishi Electric by calling 480-622-9153, by email at SKerman@hvac.mea.com, or visit their website at www.jettowel.com.

PART 1	 	GENERAL

1.1	SUMMARY

A.	Section Includes:

1.	Electric high-speed hand dryers.

Coordinate the following paragraphs with other sections in the Project Manual.

B.	Related Requirements:

1.	Division 01: Administrative, procedural, and temporary work requirements.

2.	Section [06 10 00 - Rough Carpentry:] [06 10 00 - Framing and Sheathing:] [__ __ __ - _______:] Blocking in partitions for mounting of hand dryers.

3.	[Division 26 - Electrical:] [Section __ __ __ - _______:] Power supply, wiring, and other components for wiring of hand dryers.

1.2	REFERENCES

A.	International Code Council (ICC) (www.iccsafe.org) A117.1 - Standard for Accessible and Usable Buildings and Facilities.

B.	NSF International (NSF) (www.nsf.org) 169 - Special Purpose Food Equipment and Devices.

1.3	SUBMITTALS

Limiting submittals to only those actually required helps to minimize liability arising from the review of submittals. Minimize submittals on smaller, less complex projects.

Include the following for submission of shop drawings, product data, and samples for the Architect's review.

A.	Submittals for Review:

1.	Shop Drawings: Show dryer locations, dimensions, supports, wiring, and installation details.

2.	Product Data: Provide data showing compliance with product specifications.

3.	Warranty: Sample warranty form.

Include the following for submission of closeout submittals for the Owner's record purposes.

B.	Closeout Submittals:

1.	Operation and Maintenance Data: Manufacturer’s maintenance and installation manuals.

1.4	QUALITY ASSURANCE

The following paragraph specifies a minimum level of experience required of the parties performing the work of this section. Retain if required, and edit to suit project requirements.

A.	Installer Qualifications: Minimum [5] [__] years [documented] experience in work of this Section.

B.	Manufacturer Qualifications: Minimum 20 years experience in work of this Section.

C.	Accessibility: Conform to [applicable accessibility code] [____] for hand dryer location and mounting height.

D.	Hand Dryers:

1.	Certified by NSF to NSF 169.

2.	ETL Certified.

E.	Installation: Comply with ICC A117.1.

1.5	WARRANTIES

A.	Provide manufacturer’s 5 year warranty against defective parts.

PART 2	PRODUCTS

2.1	MANUFACTURERS

A.	Acceptable Manufacturer: Mitsubishi Electric, 480-622-9153, www.jettowel.com.

Edit the following to indicate whether or not substitutions will be permitted for the products in this section.

B.	Substitutions: [Under provisions of Division 01.] [Not permitted.]

2.2	ELECTRIC HAND DRYERS

Edit the following to include only those hand dryers required for the project.

A.	High Efficiency Slim Series Electric Hand Dryer:

Edit the following to indicate desired color.

1.	Source: Mitsubishi Jet Towel [JT-SB116JH2-S-NA - Silver] [JT-SB116JH2-W-NA - White] with user defined air flow settings and integrated electric heater able to be set to ON or OFF per customer requirements.

2.	Mounting: Wall mounted using manufacturer-supplied mounting bracket.

3.	Construction: High quality ABS plastic.

4.	Access: Hand drying area open on three sides.

5.	Anti-bacterial treatment: All parts of all surfaces excluding front and back panels.

6.	Water drainage tank: Integrated.

7.	Operation: Three infrared sensors with automatic deactivation after 30 seconds.

8.	Voltage: 110-120 VAC.

9.	Frequency: 60 Hertz.

10.	Wattage: 1250 watts maximum; 730 watts with heater in off position.

11.	Motor wattage: 730.

12.	Amperage:  11.4.

13.	Air velocity: 235 MPH.

14.	Air volume: 110 CFM.

15.	Hand drying time: 9 to 11 seconds.

16.	Rated operating volume: 59 dB.

17.	Dimensions: 11-13/16 inches wide x 8-5/8 inches deep x 26-3/8 inches high.

18.	Weight: 26.5 pounds.

**** OR ****

B.	High Efficiency Smart Series Electric Hand Dryer:

Edit the following to indicate desired color.

1.	Source: Mitsubishi Jet Towel [JT-S1AP-S-NA - Silver] [JT-S1AP-W-NA - White] with integrated electric heater able to be set to ON or OFF per customer requirements.

2.	Mounting: Wall mounted using manufacturer-supplied mounting bracket.

3.	Construction: High quality ABS plastic and metal front panel.

4.	Anti-bacterial treatment: All parts of all surfaces excluding front and installation panels.

5.	Operation: Infrared sensors with automatic deactivation after 30 seconds.

6.	Voltage: 110 - 120 VAC.

7.	Frequency: 60 Hertz.

8.	Wattage: 1,020 watts maximum; 730 watts with heater in off position.

9.	Motor wattage: 730.

10.	Amperage: 8.8.

11.	Air velocity: 353 MPH.

12.	Air volume: 46 CFM.

13.	Hand drying time: 9 to 12 seconds.

14.	Rated operating volume: 64 dB.

15.	Dimensions: 9-7/8 inches wide x 6-5/16 inches deep x 11-7/16 inches high.

16.	Weight: 11.0 pounds.

**** OR ****

C.	High Efficiency Mini Series Electric Hand Dryer:

1.	Source: Mitsubishi Jet Towel Mini JT-MC106 G-W-NA with integrated electric heater able to be set to ON or OFF per customer requirements.

2.	Mounting: Wall mounted using manufacturer-supplied mounting bracket.

3.	Construction: High quality ABS plastic.

4.	Finish: White.

5.	Anti-bacterial treatment: All parts of all surfaces excluding front and back panels.

6.	Water drainage tank: Integrated.

7.	Operation: Infrared sensors with automatic deactivation after 30 seconds.

8.	Voltage: 115 VAC.

9.	Frequency: 60 Hertz.

10.	Wattage: 900 watts maximum; 600 watts with heater in off position.

11.	Motor wattage: 600.

12.	Amperage: 7.6.

13.	Air velocity: 335 MPH.

14.	Air volume: 60 CFM.

15.	Hand drying time: 13 to 15 seconds.

16.	Rated operating volume: 64 dB.

17.	Dimensions: 9-7/8 inches wide x 6-11/16 inches deep x 18-7/8 inches high.

18.	Weight: 11.5 pounds.

PART 3	EXECUTION

3.1	EXAMINATION

A.	Do not begin installation until electrical and blocking are properly prepared.

B.	Verify Minimum Clearances:

Include the following for Slim Series Electric High Efficiency Hand Dryers.

1.	Left:  5-15/16 inches.

2.	Right: 5-15/16 inches.

**** OR ****

Include the following for Smart Series Electric High Efficiency Hand Dryers.

3.	Left: 3-15/16 inches.

4.	Right: 5-15/16 inches.

**** OR ****

Include the following for Mini Series Electric High Efficiency Hand Dryers.

5.	Left: 3-15/16 inches.

6.	Right: 5-15/16 inches.

3.2	INSTALLATION

A.	Install in accordance with manufacturer’s instructions and approved Shop Drawings.

B.	Mounting Heights from Finish Floor to Top of Dryer:

Include the following for Slim Series Electric High Efficiency Hand Dryers.

1.	Men: 36-7/16 inches.

2.	Women: 35-5/8 inches.

**** OR ****

Include the following for Smart Series Electric High Efficiency Hand Dryers.

3.	Men: 54-1/8 inches.

4.	Women: 50-3/16 inches.

**** OR ****

Include the following for Mini Series Electric High Efficiency Hand Dryers.

5.	Men: 51-3/8 inches.

6.	Women: 47-7/16 inches.

C.	Set plumb, level, and rigid.

D.	Connect to power supply.

3.3	TESTING

A.	Test each hand dryer to confirm proper operation.

B.	Replace deficient parts.

3.4	CLEANING

A.	Remove protective coverings from hand dryers and clean in accordance with manufacturer’s instructions.

END OF SECTION